## Main Parameters
Basic MicroGrid Simulation with Island Mode
Battery/DG
Voltage | 2KV
Inverter
Rated Power | 2.5MVA
Rated Voltage | 13.8KVR
Frequency | 60Hz
DC p-p | 2KV
Reactance Transformer
Nominal Power | 3.5 MVA
Nominal Frequency | 60
Grid Side Voltage | 13.8 KV
Winding X | 0.785 pu
Grid Side
Voltage | 13.8 KV